Electrical Safety-Related Work Practices

Self-Audit Checklist

Building ______________________________	Room __________	Supervisor ______________________	 Date _________

Audit Performed by _____________________________

|  | Y | N | NA | COMMENTS |
| --- | --- | --- | --- | --- |
| A. Electrical Safety-Related Work Practices Program |
| Training complete and documented |  |  |  |  |
| Lockout/Tagout program includes electrical safety-related work practices |  |  |  |  |
| B. Selection and Use of Work Practices |
| Minimum safe work distances established when work involves energized parts |  |  |  |  |
| Illumination provided in all spaces containing exposed electrical conductors |  |  |  |  |
| Measures taken to avoid inadvertent contact with energized parts in enclosed or confined spaces |  |  |  |  |
| Measures taken to avoid inadvertent contact of conductive materials or equipment with energized parts during handling |  |  |  |  |
| Portable ladders have nonconductive siderails |  |  |  |  |
| Conductive apparel not worn unless rendered nonconductive |  |  |  |  |
| Measures taken to avoid inadvertent contact with energized parts during housekeeping duties |  |  |  |  |
| Electrical safety interlocks defeated only by a qualified person following specific procedures |  |  |  |  |

| Y | N | NA | COMMENTS |
| --- | --- | --- | --- |
| C. Use of Equipment |
| Procedures for handling portable equipment implemented |  |  |  |  |
| Procedures for working with extension cords implemented |  |  |  |  |
| Only qualified persons allowed to perform test work |  |  |  |  |
| Measures taken to prevent hazards from the occasional use of flammable materials near electrical equipment |  |  |  |  |
| D. Safeguards for Personnel Protection |
| Personal Protective Equipment appropriate for the electrical hazard provided and used |  |  |  |  |
| Insulated tools and handling equipment used for work performed near exposed energized circuits |  |  |  |  |
| Protective shields, barriers, or insulating materials used near exposed electrical circuits or where dangerous electric heating or arcing may occur |  |  |  |  |
| Appropriate alerting techniques used to warn and protect workers |  |  |  |  |